## WaterQualityDiscreteForSiteCros
[24 empty] | BOD 5 day (tot) ¦ mg/L |  | Cl (sol) ¦ mg/L |  | Coliform fae (c/100ml) ¦ ct/100mL |  | Coliforms (presump tot) ¦ CFU/dL |  | Cond uncomp (lab) ¦ uS/cm |  | F (sol) ¦ mg/L |  | Fe (tot) ¦ mg/L |  | MBAS-LAS ¦ mg/L |  | N (org) ¦ mg/L |  | N (tot inorg) ¦ mg/L |  | N (tot) {TN, pTN} ¦ mg/L |  | NH3-N/NH4-N (sol) ¦ mg/L |  | O - DO ¦ mg/L |  | P (tot) {TP, pTP} ¦ mg/L |  | pH ¦ no units |  | Suspended solids (gulp) ¦ mg/L |  | TDSolids (calc @180°C)-HCO3 ¦ mg/L |  | Temperature (in situ) ¦ deg C |  | Temperature (lab test) ¦ deg C
Site Ref | Collected Date Time | Collect Time | Collect Date | Collect Month | Collect Year | Collect Date (Known Accuracy) | Sample ID | Project Code | Project Site Ref | Sample Number | Collection Method | Sample Type | Depth Measurement Point | Sample Depths M | Sample Matrix | Collection Device | Collection Frequency | Data Source | Sample Comment | Security Level | Lab Sample No | Field Sample Ref | COC No | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality
6161086 | 1970-10-08 12:00 | 12:00:00 | 1970-10-08 | 10 | 1970 | 08-OCT-1970 12:00:00 (unknown accuracy) | 3467645 | WA-S-SWRISHIST | 6161086 | 698562 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1970 | [8 empty] | 5161 | [27 empty] | 25
6161086 | 1970-11-08 12:00 | 12:00:00 | 1970-11-08 | 11 | 1970 | 08-NOV-1970 12:00:00 (unknown accuracy) | 3467650 | WA-S-SWRISHIST | 6161086 | 698563 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1970 | [8 empty] | 3500 | [27 empty] | 25
6161086 | 1970-12-05 12:00 | 12:00:00 | 1970-12-05 | 12 | 1970 | 05-DEC-1970 12:00:00 (unknown accuracy) | 3467655 | WA-S-SWRISHIST | 6161086 | 698564 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1970 | [8 empty] | 5608 | [27 empty] | 25
6161086 | 1971-01-07 12:00 | 12:00:00 | 1971-01-07 | 1 | 1971 | 07-JAN-1971 12:00:00 (unknown accuracy) | 3467660 | WA-S-SWRISHIST | 6161086 | 698565 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1971 | [8 empty] | 4938 | [27 empty] | 25
6161086 | 1971-02-03 12:00 | 12:00:00 | 1971-02-03 | 2 | 1971 | 03-FEB-1971 12:00:00 (unknown accuracy) | 3467665 | WA-S-SWRISHIST | 6161086 | 698566 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1971 | [8 empty] | 5720 | [27 empty] | 25
6161086 | 1971-03-16 12:00 | 12:00:00 | 1971-03-16 | 3 | 1971 | 16-MAR-1971 12:00:00 (unknown accuracy) | 3467670 | WA-S-SWRISHIST | 6161086 | 698567 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1971 | [8 empty] | 11217 | [27 empty] | 25
6161086 | 1971-04-11 12:00 | 12:00:00 | 1971-04-11 | 4 | 1971 | 11-APR-1971 12:00:00 (unknown accuracy) | 3467675 | WA-S-SWRISHIST | 6161086 | 698568 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1971 | [8 empty] | 4423 | [27 empty] | 25
6161086 | 1971-05-04 12:00 | 12:00:00 | 1971-05-04 | 5 | 1971 | 04-MAY-1971 12:00:00 (unknown accuracy) | 3467680 | WA-S-SWRISHIST | 6161086 | 698569 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1971 | [8 empty] | 8200 | [27 empty] | 25
6161086 | 1971-05-31 12:00 | 12:00:00 | 1971-05-31 | 5 | 1971 | 31-MAY-1971 12:00:00 (unknown accuracy) | 3467685 | WA-S-SWRISHIST | 6161086 | 698570 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1971 | [8 empty] | 4558 | [27 empty] | 25
6161086 | 1971-07-04 12:00 | 12:00:00 | 1971-07-04 | 7 | 1971 | 04-JUL-1971 12:00:00 (unknown accuracy) | 3467690 | WA-S-SWRISHIST | 6161086 | 698571 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1971 | [8 empty] | 5406 | [27 empty] | 25
6161086 | 1971-08-01 12:00 | 12:00:00 | 1971-08-01 | 8 | 1971 | 01-AUG-1971 12:00:00 (unknown accuracy) | 3467695 | WA-S-SWRISHIST | 6161086 | 698572 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1971 | [8 empty] | 7188 | [27 empty] | 25
6161086 | 1971-08-16 12:00 | 12:00:00 | 1971-08-16 | 8 | 1971 | 16-AUG-1971 12:00:00 (unknown accuracy) | 3467700 | WA-S-SWRISHIST | 6161086 | 698573 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 1730 | [19 empty] | 0.1 |  | 8.8 |  | 0.1 |  | 7.5 | [5 empty] | 14.4
6161086 | 1971-09-09 12:00 | 12:00:00 | 1971-09-09 | 9 | 1971 | 09-SEP-1971 12:00:00 (unknown accuracy) | 3467708 | WA-S-SWRISHIST | 6161086 | 698574 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1971 | [8 empty] | 5428 | [27 empty] | 25
6161086 | 1971-10-09 12:00 | 12:00:00 | 1971-10-09 | 10 | 1971 | 09-OCT-1971 12:00:00 (unknown accuracy) | 3467713 | WA-S-SWRISHIST | 6161086 | 698575 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1971 | [8 empty] | 3280 | [27 empty] | 25
6161086 | 1971-11-01 12:00 | 12:00:00 | 1971-11-01 | 11 | 1971 | 01-NOV-1971 12:00:00 (unknown accuracy) | 3467718 | WA-S-SWRISHIST | 6161086 | 698576 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1971 | [8 empty] | 4066 | [27 empty] | 25
6161086 | 1971-11-29 12:00 | 12:00:00 | 1971-11-29 | 11 | 1971 | 29-NOV-1971 12:00:00 (unknown accuracy) | 3467723 | WA-S-SWRISHIST | 6161086 | 698577 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1971 | [8 empty] | 4512 | [27 empty] | 25
6161086 | 1971-12-13 12:00 | 12:00:00 | 1971-12-13 | 12 | 1971 | 13-DEC-1971 12:00:00 (unknown accuracy) | 3467728 | WA-S-SWRISHIST | 6161086 | 698578 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 2550 | [19 empty] | 0.1 |  | 5.5 |  | 0.02 |  | 7.5 | [5 empty] | 23.3
6161086 | 1972-01-09 12:00 | 12:00:00 | 1972-01-09 | 1 | 1972 | 09-JAN-1972 12:00:00 (unknown accuracy) | 3467736 | WA-S-SWRISHIST | 6161086 | 698579 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1972 | [8 empty] | 7373 | [27 empty] | 25
6161086 | 1972-02-08 12:00 | 12:00:00 | 1972-02-08 | 2 | 1972 | 08-FEB-1972 12:00:00 (unknown accuracy) | 3467741 | WA-S-SWRISHIST | 6161086 | 698580 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1972 | [8 empty] | 7955 | [27 empty] | 25
6161086 | 1972-03-06 12:00 | 12:00:00 | 1972-03-06 | 3 | 1972 | 06-MAR-1972 12:00:00 (unknown accuracy) | 3467746 | WA-S-SWRISHIST | 6161086 | 698581 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1972 | [8 empty] | 9697 | [27 empty] | 25
6161086 | 1972-03-13 12:00 | 12:00:00 | 1972-03-13 | 3 | 1972 | 13-MAR-1972 12:00:00 (unknown accuracy) | 3467751 | WA-S-SWRISHIST | 6161086 | 698582 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 2780 | [19 empty] | 0.4 |  | 5.8 |  | 0.04 |  | 7.5 | [5 empty] | 26.7
6161086 | 1972-04-02 12:00 | 12:00:00 | 1972-04-02 | 4 | 1972 | 02-APR-1972 12:00:00 (unknown accuracy) | 3467759 | WA-S-SWRISHIST | 6161086 | 698583 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1972 | [8 empty] | 15797 | [27 empty] | 25
6161086 | 1972-05-03 12:00 | 12:00:00 | 1972-05-03 | 5 | 1972 | 03-MAY-1972 12:00:00 (unknown accuracy) | 3467764 | WA-S-SWRISHIST | 6161086 | 698584 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1972 | [8 empty] | 7608 | [27 empty] | 25
6161086 | 1972-06-06 12:00 | 12:00:00 | 1972-06-06 | 6 | 1972 | 06-JUN-1972 12:00:00 (unknown accuracy) | 3467769 | WA-S-SWRISHIST | 6161086 | 698585 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1972 | [8 empty] | 7659 | [27 empty] | 25
6161086 | 1972-06-19 12:00 | 12:00:00 | 1972-06-19 | 6 | 1972 | 19-JUN-1972 12:00:00 (unknown accuracy) | 3467774 | WA-S-SWRISHIST | 6161086 | 698586 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 3070 | [19 empty] | 0.7 |  | 5.6 |  | 0.06 |  | 7.1 | [5 empty] | 15
6161086 | 1972-07-21 12:00 | 12:00:00 | 1972-07-21 | 7 | 1972 | 21-JUL-1972 12:00:00 (unknown accuracy) | 3467782 | WA-S-SWRISHIST | 6161086 | 698587 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1972 | [8 empty] | 6970 | [27 empty] | 25
6161086 | 1972-08-22 12:00 | 12:00:00 | 1972-08-22 | 8 | 1972 | 22-AUG-1972 12:00:00 (unknown accuracy) | 3467787 | WA-S-SWRISHIST | 6161086 | 698588 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1972 | [8 empty] | 5781 | [27 empty] | 25
6161086 | 1972-09-02 12:00 | 12:00:00 | 1972-09-02 | 9 | 1972 | 02-SEP-1972 12:00:00 (unknown accuracy) | 3467792 | WA-S-SWRISHIST | 6161086 | 698589 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1972 | [8 empty] | 5203 | [27 empty] | 25
6161086 | 1972-09-11 12:00 | 12:00:00 | 1972-09-11 | 9 | 1972 | 11-SEP-1972 12:00:00 (unknown accuracy) | 3467797 | WA-S-SWRISHIST | 6161086 | 698590 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 1560 | [19 empty] | 0.5 |  | 7.3 |  | 0.07 |  | 7.2 | [5 empty] | 16.1
6161086 | 1972-10-02 12:00 | 12:00:00 | 1972-10-02 | 10 | 1972 | 02-OCT-1972 12:00:00 (unknown accuracy) | 3467805 | WA-S-SWRISHIST | 6161086 | 698591 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1972 | [8 empty] | 5025 | [27 empty] | 25
6161086 | 1972-11-03 12:00 | 12:00:00 | 1972-11-03 | 11 | 1972 | 03-NOV-1972 12:00:00 (unknown accuracy) | 3467810 | WA-S-SWRISHIST | 6161086 | 698592 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1972 | [8 empty] | 4402 | [27 empty] | 25
6161086 | 1972-12-04 12:00 | 12:00:00 | 1972-12-04 | 12 | 1972 | 04-DEC-1972 12:00:00 (unknown accuracy) | 3467815 | WA-S-SWRISHIST | 6161086 | 698593 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1972 | [8 empty] | 4905 | [27 empty] | 25
6161086 | 1973-01-07 12:00 | 12:00:00 | 1973-01-07 | 1 | 1973 | 07-JAN-1973 12:00:00 (unknown accuracy) | 3467820 | WA-S-SWRISHIST | 6161086 | 698594 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1973 | [8 empty] | 9320 | [27 empty] | 25
6161086 | 1973-01-08 12:00 | 12:00:00 | 1973-01-08 | 1 | 1973 | 08-JAN-1973 12:00:00 (unknown accuracy) | 3467825 | WA-S-SWRISHIST | 6161086 | 698595 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 2080 | [19 empty] | 0.5 |  | 6.6 |  | 0.04 |  | 7.5 | [5 empty] | 27.8
6161086 | 1973-02-01 12:00 | 12:00:00 | 1973-02-01 | 2 | 1973 | 01-FEB-1973 12:00:00 (unknown accuracy) | 3467833 | WA-S-SWRISHIST | 6161086 | 698596 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1973 | [8 empty] | 7459 | [27 empty] | 25
6161086 | 1973-03-05 12:00 | 12:00:00 | 1973-03-05 | 3 | 1973 | 05-MAR-1973 12:00:00 (unknown accuracy) | 3467838 | WA-S-SWRISHIST | 6161086 | 698597 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1973 | [8 empty] | 13312 | [27 empty] | 25
6161086 | 1973-04-05 12:00 | 12:00:00 | 1973-04-05 | 4 | 1973 | 05-APR-1973 12:00:00 (unknown accuracy) | 3467843 | WA-S-SWRISHIST | 6161086 | 698598 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1973 | [8 empty] | 18764 | [27 empty] | 25
6161086 | 1973-04-09 12:00 | 12:00:00 | 1973-04-09 | 4 | 1973 | 09-APR-1973 12:00:00 (unknown accuracy) | 3467848 | WA-S-SWRISHIST | 6161086 | 698599 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 5880 | [19 empty] | 0.4 |  | 5.4 |  | 0.04 |  | 7.4 | [5 empty] | 24
6161086 | 1973-05-01 12:00 | 12:00:00 | 1973-05-01 | 5 | 1973 | 01-MAY-1973 12:00:00 (unknown accuracy) | 3467856 | WA-S-SWRISHIST | 6161086 | 698600 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1973 | [8 empty] | 21158 | [27 empty] | 25
6161086 | 1973-06-06 12:00 | 12:00:00 | 1973-06-06 | 6 | 1973 | 06-JUN-1973 12:00:00 (unknown accuracy) | 3467861 | WA-S-SWRISHIST | 6161086 | 698601 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1973 | [8 empty] | 7225 | [27 empty] | 25
6161086 | 1973-07-09 12:00 | 12:00:00 | 1973-07-09 | 7 | 1973 | 09-JUL-1973 12:00:00 (unknown accuracy) | 3467866 | WA-S-SWRISHIST | 6161086 | 698602 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 2280 | [19 empty] | 0.6 |  | 9.5 |  | 0.13 |  | 7.9 | [5 empty] | 13
6161086 | 1973-07-10 12:00 | 12:00:00 | 1973-07-10 | 7 | 1973 | 10-JUL-1973 12:00:00 (unknown accuracy) | 3467874 | WA-S-SWRISHIST | 6161086 | 698603 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1973 | [8 empty] | 5300 | [27 empty] | 25
6161086 | 1973-08-11 12:00 | 12:00:00 | 1973-08-11 | 8 | 1973 | 11-AUG-1973 12:00:00 (unknown accuracy) | 3467879 | WA-S-SWRISHIST | 6161086 | 698604 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1973 | [8 empty] | 3750 | [27 empty] | 25
6161086 | 1973-09-04 12:00 | 12:00:00 | 1973-09-04 | 9 | 1973 | 04-SEP-1973 12:00:00 (unknown accuracy) | 3467884 | WA-S-SWRISHIST | 6161086 | 698605 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1973 | [8 empty] | 6181 | [27 empty] | 25
6161086 | 1973-10-03 12:00 | 12:00:00 | 1973-10-03 | 10 | 1973 | 03-OCT-1973 12:00:00 (unknown accuracy) | 3467889 | WA-S-SWRISHIST | 6161086 | 698606 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1973 | [8 empty] | 5431 | [27 empty] | 25
6161086 | 1973-10-15 12:00 | 12:00:00 | 1973-10-15 | 10 | 1973 | 15-OCT-1973 12:00:00 (unknown accuracy) | 3467894 | WA-S-SWRISHIST | 6161086 | 698607 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 2610 | [19 empty] | 0.5 |  | 7.7 |  | 0.05 |  | 7.6 | [5 empty] | 17
6161086 | 1973-11-15 12:00 | 12:00:00 | 1973-11-15 | 11 | 1973 | 15-NOV-1973 12:00:00 (unknown accuracy) | 3467902 | WA-S-SWRISHIST | 6161086 | 698608 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1973 | [8 empty] | 5845 | [27 empty] | 25
6161086 | 1973-12-03 12:00 | 12:00:00 | 1973-12-03 | 12 | 1973 | 03-DEC-1973 12:00:00 (unknown accuracy) | 3467907 | WA-S-SWRISHIST | 6161086 | 698609 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1973 | [8 empty] | 6075 | [27 empty] | 25
6161086 | 1974-01-03 12:00 | 12:00:00 | 1974-01-03 | 1 | 1974 | 03-JAN-1974 12:00:00 (unknown accuracy) | 3467912 | WA-S-SWRISHIST | 6161086 | 698610 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1974 | [8 empty] | 5766 | [27 empty] | 25
6161086 | 1974-02-05 12:00 | 12:00:00 | 1974-02-05 | 2 | 1974 | 05-FEB-1974 12:00:00 (unknown accuracy) | 3467917 | WA-S-SWRISHIST | 6161086 | 698611 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1974 | [8 empty] | 5714 | [27 empty] | 25
6161086 | 1974-02-11 12:00 | 12:00:00 | 1974-02-11 | 2 | 1974 | 11-FEB-1974 12:00:00 (unknown accuracy) | 3467922 | WA-S-SWRISHIST | 6161086 | 698612 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 1910 | [19 empty] | 0.2 |  | 7.6 |  | 0.04 |  | 7.8 | [5 empty] | 26
6161086 | 1974-03-03 12:00 | 12:00:00 | 1974-03-03 | 3 | 1974 | 03-MAR-1974 12:00:00 (unknown accuracy) | 3467930 | WA-S-SWRISHIST | 6161086 | 698613 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1974 | [8 empty] | 9770 | [27 empty] | 25
6161086 | 1974-04-01 12:00 | 12:00:00 | 1974-04-01 | 4 | 1974 | 01-APR-1974 12:00:00 (unknown accuracy) | 3467935 | WA-S-SWRISHIST | 6161086 | 698614 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1974 | [8 empty] | 17394 | [27 empty] | 25
6161086 | 1974-04-10 12:00 | 12:00:00 | 1974-04-10 | 4 | 1974 | 10-APR-1974 12:00:00 (unknown accuracy) | 3467940 | WA-S-SWRISHIST | 6161086 | 698615 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1974 | [8 empty] | 9897 | [27 empty] | 25
6161086 | 1974-05-08 12:00 | 12:00:00 | 1974-05-08 | 5 | 1974 | 08-MAY-1974 12:00:00 (unknown accuracy) | 3467945 | WA-S-SWRISHIST | 6161086 | 698616 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1974 | [8 empty] | 7452 | [27 empty] | 25
6161086 | 1974-05-27 12:00 | 12:00:00 | 1974-05-27 | 5 | 1974 | 27-MAY-1974 12:00:00 (unknown accuracy) | 3467950 | WA-S-SWRISHIST | 6161086 | 698617 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 3340 | [19 empty] | 0.3 |  | 8.1 |  | 0.14 |  | 7.2 | [5 empty] | 15.5
6161086 | 1974-06-09 12:00 | 12:00:00 | 1974-06-09 | 6 | 1974 | 09-JUN-1974 12:00:00 (unknown accuracy) | 3467958 | WA-S-SWRISHIST | 6161086 | 698618 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1974 | [8 empty] | 11198 | [27 empty] | 25
6161086 | 1974-06-30 12:00 | 12:00:00 | 1974-06-30 | 6 | 1974 | 30-JUN-1974 12:00:00 (unknown accuracy) | 3467963 | WA-S-SWRISHIST | 6161086 | 698619 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1974 | [8 empty] | 7789 | [27 empty] | 25
6161086 | 1974-08-10 12:00 | 12:00:00 | 1974-08-10 | 8 | 1974 | 10-AUG-1974 12:00:00 (unknown accuracy) | 3467968 | WA-S-SWRISHIST | 6161086 | 698620 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1974 | [8 empty] | 3623 | [27 empty] | 25
6161086 | 1974-09-01 12:00 | 12:00:00 | 1974-09-01 | 9 | 1974 | 01-SEP-1974 12:00:00 (unknown accuracy) | 3467973 | WA-S-SWRISHIST | 6161086 | 698621 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1974 | [8 empty] | 8969 | [27 empty] | 25
6161086 | 1974-09-09 12:00 | 12:00:00 | 1974-09-09 | 9 | 1974 | 09-SEP-1974 12:00:00 (unknown accuracy) | 3467978 | WA-S-SWRISHIST | 6161086 | 698622 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 3090 | [19 empty] | 0.6 |  | 7.6 |  | 0.03 |  | 7.5 | [5 empty] | 18
6161086 | 1974-11-03 12:00 | 12:00:00 | 1974-11-03 | 11 | 1974 | 03-NOV-1974 12:00:00 (unknown accuracy) | 3467986 | WA-S-SWRISHIST | 6161086 | 698623 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1974 | [8 empty] | 10812 | [27 empty] | 25
6161086 | 1974-11-18 12:00 | 12:00:00 | 1974-11-18 | 11 | 1974 | 18-NOV-1974 12:00:00 (unknown accuracy) | 3467991 | WA-S-SWRISHIST | 6161086 | 698624 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 2640 | [19 empty] | 0.7 |  | 5.5 |  | 0.1 |  | 7.3 | [5 empty] | 21.5
6161086 | 1974-12-03 12:00 | 12:00:00 | 1974-12-03 | 12 | 1974 | 03-DEC-1974 12:00:00 (unknown accuracy) | 3467999 | WA-S-SWRISHIST | 6161086 | 698625 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1974 | [8 empty] | 11466 | [27 empty] | 25
6162519 | 1970-11-10 12:00 | 12:00:00 | 1970-11-10 | 11 | 1970 | 10-NOV-1970 12:00:00 (unknown accuracy) | 3694895 | WA-S-SWRISHIST | 6162519 | 734405 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 4 |  | 93
6162519 | 1970-11-10 12:00 | 12:00:00 | 1970-11-10 | 11 | 1970 | 10-NOV-1970 12:00:00 (unknown accuracy) | 3694899 | WA-S-SWRISHIST | 6162519 | 734406 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 200 |  | 188 | [11 empty] | 0 |  | 0.2 |  | 1 |  | 1.2 | [7 empty] | 7.9 |  | 12 |  | 474
6162519 | 1971-03-24 12:00 | 12:00:00 | 1971-03-24 | 3 | 1971 | 24-MAR-1971 12:00:00 (unknown accuracy) | 3694916 | WA-S-SWRISHIST | 6162519 | 734410 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 150 |  | 150
6162519 | 1971-09-08 12:00 | 12:00:00 | 1971-09-08 | 9 | 1971 | 08-SEP-1971 12:00:00 (unknown accuracy) | 3694932 | WA-S-SWRISHIST | 6162519 | 734417 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 93 |  | 93
6162519 | 1971-09-08 12:00 | 12:00:00 | 1971-09-08 | 9 | 1971 | 08-SEP-1971 12:00:00 (unknown accuracy) | 3694936 | WA-S-SWRISHIST | 6162519 | 734418 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 400 |  | 227.5 | [9 empty] | 0 |  | 0 | [5 empty] | 0.9 | [5 empty] | 0.1 |  | 7.5 |  |  |  | 450
6162519 | 1972-02-24 12:00 | 12:00:00 | 1972-02-24 | 2 | 1972 | 24-FEB-1972 12:00:00 (unknown accuracy) | 3694954 | WA-S-SWRISHIST | 6162519 | 734423 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 9 |  | 93
6162519 | 1972-02-24 12:00 | 12:00:00 | 1972-02-24 | 2 | 1972 | 24-FEB-1972 12:00:00 (unknown accuracy) | 3694958 | WA-S-SWRISHIST | 6162519 | 734424 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 80 |  | 453.7 | [9 empty] | 0 |  | 0 |  | 1.25 |  | 0.25 |  | 1.5 | [5 empty] | 0.2 |  | 7.8 |  | 6 |  | 912
6162519 | 1972-09-05 12:00 | 12:00:00 | 1972-09-05 | 9 | 1972 | 05-SEP-1972 12:00:00 (unknown accuracy) | 3694985 | WA-S-SWRISHIST | 6162519 | 734432 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 93 |  | 240
6162519 | 1972-09-05 12:00 | 12:00:00 | 1972-09-05 | 9 | 1972 | 05-SEP-1972 12:00:00 (unknown accuracy) | 3694989 | WA-S-SWRISHIST | 6162519 | 734433 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 90 |  | 266.9 | [9 empty] | 0 |  | 0 |  | 0.7 |  | 0.1 |  | 0.8 | [5 empty] | 0.14 |  | 7.6 |  | 0 |  | 572
6162519 | 1973-02-15 12:00 | 12:00:00 | 1973-02-15 | 2 | 1973 | 15-FEB-1973 12:00:00 (unknown accuracy) | 3695010 | WA-S-SWRISHIST | 6162519 | 734438 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 43 |  | 93
6162519 | 1973-02-15 12:00 | 12:00:00 | 1973-02-15 | 2 | 1973 | 15-FEB-1973 12:00:00 (unknown accuracy) | 3695014 | WA-S-SWRISHIST | 6162519 | 734439 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 300 |  | 448.9 | [7 empty] | 0.3 | [5 empty] | 4.5 |  | <0.1 |  | 4.5 | [5 empty] | 0.06 |  | 7.1 |  | <1 |  | 980
6162519 | 1973-09-25 12:00 | 12:00:00 | 1973-09-25 | 9 | 1973 | 25-SEP-1973 12:00:00 (unknown accuracy) | 3695040 | WA-S-SWRISHIST | 6162519 | 734447 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 43 |  | 43
6162519 | 1973-09-25 12:00 | 12:00:00 | 1973-09-25 | 9 | 1973 | 25-SEP-1973 12:00:00 (unknown accuracy) | 3695044 | WA-S-SWRISHIST | 6162519 | 734448 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 90 |  | 194.1 | [7 empty] | 0.45 |  | <0.1 |  | <0.01 |  | 0.5 |  | <0.1 |  | 0.5 | [5 empty] | 0.5 |  | 7.2 |  | <1 |  | 420
6162519 | 1974-03-14 12:00 | 12:00:00 | 1974-03-14 | 3 | 1974 | 14-MAR-1974 12:00:00 (unknown accuracy) | 3695068 | WA-S-SWRISHIST | 6162519 | 734454 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 900 |  | 1500
6162519 | 1974-03-14 12:00 | 12:00:00 | 1974-03-14 | 3 | 1974 | 14-MAR-1974 12:00:00 (unknown accuracy) | 3695072 | WA-S-SWRISHIST | 6162519 | 734455 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 110 |  | 321.5 | [7 empty] | 0.05 |  | <0.1 |  | <0.01 |  | 1.55 |  | 0.3 |  | 1.85 | [5 empty] | 0.9 |  | 7.6 |  | 4 |  | 820
6162519 | 1974-09-03 12:00 | 12:00:00 | 1974-09-03 | 9 | 1974 | 03-SEP-1974 12:00:00 (unknown accuracy) | 3695092 | WA-S-SWRISHIST | 6162519 | 734459 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 4 |  | 1100
6162519 | 1974-09-03 12:00 | 12:00:00 | 1974-09-03 | 9 | 1974 | 03-SEP-1974 12:00:00 (unknown accuracy) | 3695096 | WA-S-SWRISHIST | 6162519 | 734460 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 50 |  | 166.8 | [7 empty] | 0.2 |  | <0.01 |  | <0.1 |  | 0.95 |  | 0.25 |  | 1.2 | [5 empty] | 0.56 |  | 7.9 |  | <1 |  | 420
6162520 | 1970-05-12 12:00 | 12:00:00 | 1970-05-12 | 5 | 1970 | 12-MAY-1970 12:00:00 (unknown accuracy) | 3696130 | WA-S-SWRISHIST | 6162520 | 734738 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 39 |  | 1100
6162520 | 1970-05-12 12:00 | 12:00:00 | 1970-05-12 | 5 | 1970 | 12-MAY-1970 12:00:00 (unknown accuracy) | 3696134 | WA-S-SWRISHIST | 6162520 | 734739 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  | 124.4 | [11 empty] | 0 |  | 2 |  | 6 |  | 8 | [5 empty] | 2 |  | 7.5 |  |  |  | 300
6162520 | 1970-11-10 12:00 | 12:00:00 | 1970-11-10 | 11 | 1970 | 10-NOV-1970 12:00:00 (unknown accuracy) | 3696154 | WA-S-SWRISHIST | 6162520 | 734745 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 4 |  | 43
6162520 | 1970-11-10 12:00 | 12:00:00 | 1970-11-10 | 11 | 1970 | 10-NOV-1970 12:00:00 (unknown accuracy) | 3696158 | WA-S-SWRISHIST | 6162520 | 734746 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 900 |  | 69.8 | [11 empty] | 0 |  | 1 |  | 0.1 |  | 1.1 | [7 empty] | 8.9 |  | 16 |  | 222
6162520 | 1971-03-24 12:00 | 12:00:00 | 1971-03-24 | 3 | 1971 | 24-MAR-1971 12:00:00 (unknown accuracy) | 3696175 | WA-S-SWRISHIST | 6162520 | 734750 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | >1100 |  | >1100
6162520 | 1971-09-08 12:00 | 12:00:00 | 1971-09-08 | 9 | 1971 | 08-SEP-1971 12:00:00 (unknown accuracy) | 3696191 | WA-S-SWRISHIST | 6162520 | 734757 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 400 |  | 72.8 | [7 empty] | 0.1 |  | 0 |  | 0 | [11 empty] | 0.4 |  | 7.7 |  |  |  | 204
6162520 | 1972-02-24 12:00 | 12:00:00 | 1972-02-24 | 2 | 1972 | 24-FEB-1972 12:00:00 (unknown accuracy) | 3696209 | WA-S-SWRISHIST | 6162520 | 734762 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 0 |  | 4
6162520 | 1972-02-24 12:00 | 12:00:00 | 1972-02-24 | 2 | 1972 | 24-FEB-1972 12:00:00 (unknown accuracy) | 3696213 | WA-S-SWRISHIST | 6162520 | 734763 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 920 |  | 155.9 | [7 empty] | <0.1 |  | 0 |  | 0 |  | 2.5 |  | 0.15 |  | 2.65 | [5 empty] | 0.28 |  | 10 |  | 28 |  | 548
6162520 | 1972-09-05 12:00 | 12:00:00 | 1972-09-05 | 9 | 1972 | 05-SEP-1972 12:00:00 (unknown accuracy) | 3696241 | WA-S-SWRISHIST | 6162520 | 734771 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 43 |  | 460
6162520 | 1972-09-05 12:00 | 12:00:00 | 1972-09-05 | 9 | 1972 | 05-SEP-1972 12:00:00 (unknown accuracy) | 3696245 | WA-S-SWRISHIST | 6162520 | 734772 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 210 |  | 71 | [7 empty] | 0 |  | 0 |  | 0 |  | 0.9 |  | 0.2 |  | 1.1 | [5 empty] | <0.01 |  | 8.8 |  | 0 |  | 250
6162520 | 1973-02-15 12:00 | 12:00:00 | 1973-02-15 | 2 | 1973 | 15-FEB-1973 12:00:00 (unknown accuracy) | 3696267 | WA-S-SWRISHIST | 6162520 | 734777 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 0 |  | 0
6162520 | 1973-02-15 12:00 | 12:00:00 | 1973-02-15 | 2 | 1973 | 15-FEB-1973 12:00:00 (unknown accuracy) | 3696271 | WA-S-SWRISHIST | 6162520 | 734778 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 1100 |  | 148.6 | [7 empty] | 0.3 | [5 empty] | 6.7 |  | <0.1 |  | 6.7 | [5 empty] | 0.08 |  | 8 |  | 6 |  | 480
6162520 | 1973-09-25 12:00 | 12:00:00 | 1973-09-25 | 9 | 1973 | 25-SEP-1973 12:00:00 (unknown accuracy) | 3696297 | WA-S-SWRISHIST | 6162520 | 734786 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 93 |  | 93
6162520 | 1974-03-13 12:00 | 12:00:00 | 1974-03-13 | 3 | 1974 | 13-MAR-1974 12:00:00 (unknown accuracy) | 3696309 | WA-S-SWRISHIST | 6162520 | 734791 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 43 |  | 93
6162520 | 1974-03-13 12:00 | 12:00:00 | 1974-03-13 | 3 | 1974 | 13-MAR-1974 12:00:00 (unknown accuracy) | 3696315 | WA-S-SWRISHIST | 6162520 | 734793 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 820 |  | 182 | [7 empty] | 0.05 |  | <0.1 |  | <0.01 |  | 2.65 |  | 0.3 |  | 2.95 | [5 empty] | 0.3 |  | 9 |  | 30 |  | 530
6162520 | 1974-09-10 12:00 | 12:00:00 | 1974-09-10 | 9 | 1974 | 10-SEP-1974 12:00:00 (unknown accuracy) | 3696339 | WA-S-SWRISHIST | 6162520 | 734799 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 9 |  | 210
6162520 | 1974-09-10 12:00 | 12:00:00 | 1974-09-10 | 9 | 1974 | 10-SEP-1974 12:00:00 (unknown accuracy) | 3696343 | WA-S-SWRISHIST | 6162520 | 734800 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 1200 |  | 121.3 | [7 empty] | 0.25 |  | <0.1 |  | <0.01 |  | 3.4 |  | 0.2 |  | 3.6 | [5 empty] | 0.3 |  | 8.9 |  | 30 |  | 380
6162557 | 1971-03-24 12:00 | 12:00:00 | 1971-03-24 | 3 | 1971 | 24-MAR-1971 12:00:00 (unknown accuracy) | 3704057 | WA-S-SWRISHIST | 6162557 | 737980 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 43 |  | 43
6162557 | 1971-09-08 12:00 | 12:00:00 | 1971-09-08 | 9 | 1971 | 08-SEP-1971 12:00:00 (unknown accuracy) | 3704067 | WA-S-SWRISHIST | 6162557 | 737984 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 9 |  | 23.9
6162557 | 1971-09-08 12:00 | 12:00:00 | 1971-09-08 | 9 | 1971 | 08-SEP-1971 12:00:00 (unknown accuracy) | 3704071 | WA-S-SWRISHIST | 6162557 | 737985 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 1000 |  | 746.1 | [7 empty] | 0.3 |  | 0 |  | 0 | [5 empty] | 5 | [5 empty] | 0.4 |  | 8.7 |  | 36 |  | 1430
6162557 | 1972-02-24 12:00 | 12:00:00 | 1972-02-24 | 2 | 1972 | 24-FEB-1972 12:00:00 (unknown accuracy) | 3704091 | WA-S-SWRISHIST | 6162557 | 737990 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 43 |  | 75
6162557 | 1972-02-24 12:00 | 12:00:00 | 1972-02-24 | 2 | 1972 | 24-FEB-1972 12:00:00 (unknown accuracy) | 3704095 | WA-S-SWRISHIST | 6162557 | 737991 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 480 |  | 1276.3 | [9 empty] | 0 |  | 0 |  | 3.1 |  | 0.3 |  | 3.4 | [5 empty] | 0.08 |  | 8.5 |  | 42 |  | 2862
6162557 | 1972-09-05 12:00 | 12:00:00 | 1972-09-05 | 9 | 1972 | 05-SEP-1972 12:00:00 (unknown accuracy) | 3704122 | WA-S-SWRISHIST | 6162557 | 737999 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 23 |  | 43
6162557 | 1972-09-05 12:00 | 12:00:00 | 1972-09-05 | 9 | 1972 | 05-SEP-1972 12:00:00 (unknown accuracy) | 3704126 | WA-S-SWRISHIST | 6162557 | 738000 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 290 |  | 982.7 | [9 empty] | 0 |  | 0 |  | 2.8 |  | 0.2 |  | 3 | [5 empty] | 0.16 |  | 8.3 |  | 82 |  | 2182
6162557 | 1973-02-01 12:00 | 12:00:00 | 1973-02-01 | 2 | 1973 | 01-FEB-1973 12:00:00 (unknown accuracy) | 3704145 | WA-S-SWRISHIST | 6162557 | 738004 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 93 |  | 240
6162557 | 1973-02-01 12:00 | 12:00:00 | 1973-02-01 | 2 | 1973 | 01-FEB-1973 12:00:00 (unknown accuracy) | 3704149 | WA-S-SWRISHIST | 6162557 | 738005 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 700 |  | 4258.398 | [7 empty] | 0.45 | [5 empty] | 7 |  | <0.1 |  | 7 | [5 empty] | 0.25 |  | 8.6 |  | <1 |  | 8830
6162557 | 1973-10-09 12:00 | 12:00:00 | 1973-10-09 | 10 | 1973 | 09-OCT-1973 12:00:00 (unknown accuracy) | 3704177 | WA-S-SWRISHIST | 6162557 | 738014 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 400 |  | 400
6162557 | 1973-10-09 12:00 | 12:00:00 | 1973-10-09 | 10 | 1973 | 09-OCT-1973 12:00:00 (unknown accuracy) | 3704181 | WA-S-SWRISHIST | 6162557 | 738015 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 80 |  | 325.7 | [7 empty] | 0.8 |  | <0.1 |  | <0.01 |  | 1.15 |  | 0.15 |  | 1.3 | [5 empty] | 0.5 |  | 8 |  | 4 |  | 830
6162557 | 1974-03-14 12:00 | 12:00:00 | 1974-03-14 | 3 | 1974 | 14-MAR-1974 12:00:00 (unknown accuracy) | 3704203 | WA-S-SWRISHIST | 6162557 | 738020 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 0 |  | 0
6162557 | 1974-03-14 12:00 | 12:00:00 | 1974-03-14 | 3 | 1974 | 14-MAR-1974 12:00:00 (unknown accuracy) | 3704207 | WA-S-SWRISHIST | 6162557 | 738021 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 340 |  | 994.8 | [7 empty] | 0.35 |  | <0.1 |  | <0.01 |  | 3 |  | 0.6 |  | 3.6 | [5 empty] | 0.2 |  | 9.4 |  | <1 |  | 2330
6162557 | 1974-09-03 12:00 | 12:00:00 | 1974-09-03 | 9 | 1974 | 03-SEP-1974 12:00:00 (unknown accuracy) | 3704231 | WA-S-SWRISHIST | 6162557 | 738027 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 |  |  |  |  | 4 |  | 9
6162557 | 1974-09-03 12:00 | 12:00:00 | 1974-09-03 | 9 | 1974 | 03-SEP-1974 12:00:00 (unknown accuracy) | 3704235 | WA-S-SWRISHIST | 6162557 | 738028 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 330 |  | 379.1 | [7 empty] | 0.3 |  | <0.1 |  | <0.01 |  | 2.2 |  | 1 |  | 3.2 | [5 empty] | 0.22 |  | 7.9 |  | <1.1 |  | 980