## WaterQualityDiscreteForSiteCros
[24 empty] | Cl (sol) ¦ mg/L |  | Cond uncomp (lab) ¦ uS/cm |  | N (sum sol ox) {NOx-N, TON} ¦ mg/L |  | NH3-N/NH4-N (sol) ¦ mg/L |  | O - DO ¦ mg/L |  | P (tot) {TP, pTP} ¦ mg/L |  | pH ¦ no units |  | Temperature (in situ) ¦ deg C |  | Temperature (lab test) ¦ deg C
Site Ref | Collected Date Time | Collect Time | Collect Date | Collect Month | Collect Year | Collect Date (Known Accuracy) | Sample ID | Project Code | Project Site Ref | Sample Number | Collection Method | Sample Type | Depth Measurement Point | Sample Depths M | Sample Matrix | Collection Device | Collection Frequency | Data Source | Sample Comment | Security Level | Lab Sample No | Field Sample Ref | COC No | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality | Reading Value | Quality
6161086 | 1975-01-07 12:00 | 12:00:00 | 1975-01-07 | 1 | 1975 | 07-JAN-1975 12:00:00 (unknown accuracy) | 3468004 | WA-S-SWRISHIST | 6161086 | 698626 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1975 |  |  | 8986 | [13 empty] | 25
6161086 | 1975-02-03 12:00 | 12:00:00 | 1975-02-03 | 2 | 1975 | 03-FEB-1975 12:00:00 (unknown accuracy) | 3468009 | WA-S-SWRISHIST | 6161086 | 698627 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1975 |  |  | 7666 | [13 empty] | 25
6161086 | 1975-03-03 12:00 | 12:00:00 | 1975-03-03 | 3 | 1975 | 03-MAR-1975 12:00:00 (unknown accuracy) | 3468014 | WA-S-SWRISHIST | 6161086 | 698628 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1975 |  |  | 9995 | [13 empty] | 25
6161086 | 1975-03-12 12:00 | 12:00:00 | 1975-03-12 | 3 | 1975 | 12-MAR-1975 12:00:00 (unknown accuracy) | 3468019 | WA-S-SWRISHIST | 6161086 | 698629 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 5820 | [5 empty] | 0.3 |  | 5.9 |  | 0.03 |  | 7.5 |  | 25
6161086 | 1975-04-01 12:00 | 12:00:00 | 1975-04-01 | 4 | 1975 | 01-APR-1975 12:00:00 (unknown accuracy) | 3468027 | WA-S-SWRISHIST | 6161086 | 698630 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1975 |  |  | 18345 | [13 empty] | 25
6161086 | 1975-05-07 12:00 | 12:00:00 | 1975-05-07 | 5 | 1975 | 07-MAY-1975 12:00:00 (unknown accuracy) | 3468032 | WA-S-SWRISHIST | 6161086 | 698631 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1975 |  |  | 8570 | [13 empty] | 25
6161086 | 1975-06-04 12:00 | 12:00:00 | 1975-06-04 | 6 | 1975 | 04-JUN-1975 12:00:00 (unknown accuracy) | 3468037 | WA-S-SWRISHIST | 6161086 | 698632 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1975 |  |  | 4433 | [13 empty] | 25
6161086 | 1975-06-18 12:00 | 12:00:00 | 1975-06-18 | 6 | 1975 | 18-JUN-1975 12:00:00 (unknown accuracy) | 3468042 | WA-S-SWRISHIST | 6161086 | 698633 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 1580 | [5 empty] | 0.3 |  | 8.4 |  | 0.07 |  | 7.3 |  | 13.5
6161086 | 1975-07-07 12:00 | 12:00:00 | 1975-07-07 | 7 | 1975 | 07-JUL-1975 12:00:00 (unknown accuracy) | 3468050 | WA-S-SWRISHIST | 6161086 | 698634 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1975 |  |  | 9061 | [13 empty] | 25
6161086 | 1975-08-04 12:00 | 12:00:00 | 1975-08-04 | 8 | 1975 | 04-AUG-1975 12:00:00 (unknown accuracy) | 3468055 | WA-S-SWRISHIST | 6161086 | 698635 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1975 |  |  | 3884 | [13 empty] | 25
6161086 | 1975-09-05 12:00 | 12:00:00 | 1975-09-05 | 9 | 1975 | 05-SEP-1975 12:00:00 (unknown accuracy) | 3468060 | WA-S-SWRISHIST | 6161086 | 698636 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1975 |  |  | 4584 | [13 empty] | 25
6161086 | 1975-09-10 12:00 | 12:00:00 | 1975-09-10 | 9 | 1975 | 10-SEP-1975 12:00:00 (unknown accuracy) | 3468065 | WA-S-SWRISHIST | 6161086 | 698637 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 1480 | [5 empty] | 0.5 |  | 6.8 |  | 0.05 |  | 7.1 |  | 17.4
6161086 | 1975-10-05 12:00 | 12:00:00 | 1975-10-05 | 10 | 1975 | 05-OCT-1975 12:00:00 (unknown accuracy) | 3468073 | WA-S-SWRISHIST | 6161086 | 698638 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1975 |  |  | 5576 | [13 empty] | 25
6161086 | 1975-11-02 12:00 | 12:00:00 | 1975-11-02 | 11 | 1975 | 02-NOV-1975 12:00:00 (unknown accuracy) | 3468078 | WA-S-SWRISHIST | 6161086 | 698639 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1975 |  |  | 7456 | [13 empty] | 25
6161086 | 1975-12-02 12:00 | 12:00:00 | 1975-12-02 | 12 | 1975 | 02-DEC-1975 12:00:00 (unknown accuracy) | 3468083 | WA-S-SWRISHIST | 6161086 | 698640 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1975 |  |  | 6239 | [13 empty] | 25
6161086 | 1975-12-03 12:00 | 12:00:00 | 1975-12-03 | 12 | 1975 | 03-DEC-1975 12:00:00 (unknown accuracy) | 3468088 | WA-S-SWRISHIST | 6161086 | 698641 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 2000 | [5 empty] | 0.3 |  | 6 |  | 0.03 |  | 7.5 |  | 24.5
6161086 | 1976-01-05 12:00 | 12:00:00 | 1976-01-05 | 1 | 1976 | 05-JAN-1976 12:00:00 (unknown accuracy) | 3468096 | WA-S-SWRISHIST | 6161086 | 698642 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1976 |  |  | 5941 | [13 empty] | 25
6161086 | 1976-02-02 12:00 | 12:00:00 | 1976-02-02 | 2 | 1976 | 02-FEB-1976 12:00:00 (unknown accuracy) | 3468101 | WA-S-SWRISHIST | 6161086 | 698643 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1976 |  |  | 7816 | [13 empty] | 25
6161086 | 1976-03-02 12:00 | 12:00:00 | 1976-03-02 | 3 | 1976 | 02-MAR-1976 12:00:00 (unknown accuracy) | 3468106 | WA-S-SWRISHIST | 6161086 | 698644 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1976 |  |  | 13552 | [13 empty] | 25
6161086 | 1976-04-04 12:00 | 12:00:00 | 1976-04-04 | 4 | 1976 | 04-APR-1976 12:00:00 (unknown accuracy) | 3468111 | WA-S-SWRISHIST | 6161086 | 698645 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1976 |  |  | 16272 | [13 empty] | 25
6161086 | 1976-04-07 12:00 | 12:00:00 | 1976-04-07 | 4 | 1976 | 07-APR-1976 12:00:00 (unknown accuracy) | 3468116 | WA-S-SWRISHIST | 6161086 | 698646 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 5340 | [5 empty] | 0.4 |  | 8.6 |  | 0.05 |  | 7.5 |  | 23.2
6161086 | 1976-04-22 12:00 | 12:00:00 | 1976-04-22 | 4 | 1976 | 22-APR-1976 12:00:00 (unknown accuracy) | 3468124 | WA-S-SWRISHIST | 6161086 | 698647 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1976 |  |  | 10578 | [13 empty] | 25
6161086 | 1976-06-12 12:00 | 12:00:00 | 1976-06-12 | 6 | 1976 | 12-JUN-1976 12:00:00 (unknown accuracy) | 3468129 | WA-S-SWRISHIST | 6161086 | 698648 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1976 |  |  | 11550 | [13 empty] | 25
6161086 | 1976-07-05 12:00 | 12:00:00 | 1976-07-05 | 7 | 1976 | 05-JUL-1976 12:00:00 (unknown accuracy) | 3468134 | WA-S-SWRISHIST | 6161086 | 698649 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1976 |  |  | 7239 | [13 empty] | 25
6161086 | 1976-07-07 12:00 | 12:00:00 | 1976-07-07 | 7 | 1976 | 07-JUL-1976 12:00:00 (unknown accuracy) | 3468139 | WA-S-SWRISHIST | 6161086 | 698650 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 2940 | [5 empty] | 0.4 |  | 7.7 |  | 0.11 |  | 7.6 |  | 14
6161086 | 1976-08-07 12:00 | 12:00:00 | 1976-08-07 | 8 | 1976 | 07-AUG-1976 12:00:00 (unknown accuracy) | 3468147 | WA-S-SWRISHIST | 6161086 | 698651 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1976 |  |  | 5108 | [13 empty] | 25
6161086 | 1976-09-14 12:00 | 12:00:00 | 1976-09-14 | 9 | 1976 | 14-SEP-1976 12:00:00 (unknown accuracy) | 3468152 | WA-S-SWRISHIST | 6161086 | 698652 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1976 |  |  | 7566 | [13 empty] | 25
6161086 | 1976-10-06 12:00 | 12:00:00 | 1976-10-06 | 10 | 1976 | 06-OCT-1976 12:00:00 (unknown accuracy) | 3468157 | WA-S-SWRISHIST | 6161086 | 698653 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 2730 |  |  |  | 0.09 |  | 0.6 |  | 6.3 |  | 0.09 |  | 7.6 |  | 19.5
6161086 | 1976-10-08 12:00 | 12:00:00 | 1976-10-08 | 10 | 1976 | 08-OCT-1976 12:00:00 (unknown accuracy) | 3468166 | WA-S-SWRISHIST | 6161086 | 698654 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1976 |  |  | 10295 | [13 empty] | 25
6161086 | 1976-11-14 12:00 | 12:00:00 | 1976-11-14 | 11 | 1976 | 14-NOV-1976 12:00:00 (unknown accuracy) | 3468171 | WA-S-SWRISHIST | 6161086 | 698655 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1976 |  |  | 6000 | [13 empty] | 25
6161086 | 1976-12-01 12:00 | 12:00:00 | 1976-12-01 | 12 | 1976 | 01-DEC-1976 12:00:00 (unknown accuracy) | 3468176 | WA-S-SWRISHIST | 6161086 | 698656 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1976 |  |  | 6550 | [13 empty] | 25
6161086 | 1977-01-12 12:00 | 12:00:00 | 1977-01-12 | 1 | 1977 | 12-JAN-1977 12:00:00 (unknown accuracy) | 3468181 | WA-S-SWRISHIST | 6161086 | 698657 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 2370 |  |  |  | 0.02 |  | 0.4 |  | 5.8 |  | 0.04 |  | 7.6 |  | 25.1
6161086 | 1977-01-15 12:00 | 12:00:00 | 1977-01-15 | 1 | 1977 | 15-JAN-1977 12:00:00 (unknown accuracy) | 3468190 | WA-S-SWRISHIST | 6161086 | 698658 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1977 |  |  | 7634 | [13 empty] | 25
6161086 | 1977-02-01 12:00 | 12:00:00 | 1977-02-01 | 2 | 1977 | 01-FEB-1977 12:00:00 (unknown accuracy) | 3468195 | WA-S-SWRISHIST | 6161086 | 698659 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1977 |  |  | 7158 | [13 empty] | 25
6161086 | 1977-03-10 12:00 | 12:00:00 | 1977-03-10 | 3 | 1977 | 10-MAR-1977 12:00:00 (unknown accuracy) | 3468200 | WA-S-SWRISHIST | 6161086 | 698660 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1977 |  |  | 11444 | [13 empty] | 25
6161086 | 1977-04-02 12:00 | 12:00:00 | 1977-04-02 | 4 | 1977 | 02-APR-1977 12:00:00 (unknown accuracy) | 3468205 | WA-S-SWRISHIST | 6161086 | 698661 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1977 |  |  | 13194 | [13 empty] | 25
6161086 | 1977-05-02 12:00 | 12:00:00 | 1977-05-02 | 5 | 1977 | 02-MAY-1977 12:00:00 (unknown accuracy) | 3468210 | WA-S-SWRISHIST | 6161086 | 698662 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1977 |  |  | 24834 | [13 empty] | 25
6161086 | 1977-05-04 12:00 | 12:00:00 | 1977-05-04 | 5 | 1977 | 04-MAY-1977 12:00:00 (unknown accuracy) | 3468215 | WA-S-SWRISHIST | 6161086 | 698663 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 8010 |  |  |  | 0.02 |  | 0.4 |  | 4.9 |  | 0.06 |  | 7.4 |  | 16.6
6161086 | 1977-06-06 12:00 | 12:00:00 | 1977-06-06 | 6 | 1977 | 06-JUN-1977 12:00:00 (unknown accuracy) | 3468224 | WA-S-SWRISHIST | 6161086 | 698664 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1977 |  |  | 5372 | [13 empty] | 25
6161086 | 1977-07-12 12:00 | 12:00:00 | 1977-07-12 | 7 | 1977 | 12-JUL-1977 12:00:00 (unknown accuracy) | 3468229 | WA-S-SWRISHIST | 6161086 | 698665 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1977 |  |  | 6983 | [13 empty] | 25
6161086 | 1977-08-02 12:00 | 12:00:00 | 1977-08-02 | 8 | 1977 | 02-AUG-1977 12:00:00 (unknown accuracy) | 3468234 | WA-S-SWRISHIST | 6161086 | 698666 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1977 |  |  | 7797 | [13 empty] | 25
6161086 | 1977-08-03 12:00 | 12:00:00 | 1977-08-03 | 8 | 1977 | 03-AUG-1977 12:00:00 (unknown accuracy) | 3468239 | WA-S-SWRISHIST | 6161086 | 698667 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 2150 |  |  |  | 0.4 |  | 0.5 |  | 7.1 |  | 0.11 |  | 7.5 |  | 13.5
6161086 | 1977-09-06 12:00 | 12:00:00 | 1977-09-06 | 9 | 1977 | 06-SEP-1977 12:00:00 (unknown accuracy) | 3468248 | WA-S-SWRISHIST | 6161086 | 698668 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1977 |  |  | 7192 | [13 empty] | 25
6161086 | 1977-10-05 12:00 | 12:00:00 | 1977-10-05 | 10 | 1977 | 05-OCT-1977 12:00:00 (unknown accuracy) | 3468253 | WA-S-SWRISHIST | 6161086 | 698669 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1977 |  |  | 4767 | [13 empty] | 25
6161086 | 1977-11-02 12:00 | 12:00:00 | 1977-11-02 | 11 | 1977 | 02-NOV-1977 12:00:00 (unknown accuracy) | 3468258 | WA-S-SWRISHIST | 6161086 | 698670 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 4910 |  |  |  | 0.02 |  | 0.09 |  | 6.5 |  | 0.19 |  | 8.1 |  | 22
6161086 | 1977-11-09 12:00 | 12:00:00 | 1977-11-09 | 11 | 1977 | 09-NOV-1977 12:00:00 (unknown accuracy) | 3468267 | WA-S-SWRISHIST | 6161086 | 698671 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1977 |  |  | 11498 | [13 empty] | 25
6161086 | 1977-12-04 12:00 | 12:00:00 | 1977-12-04 | 12 | 1977 | 04-DEC-1977 12:00:00 (unknown accuracy) | 3468272 | WA-S-SWRISHIST | 6161086 | 698672 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1977 |  |  | 15014 | [13 empty] | 25
6161086 | 1978-01-14 12:00 | 12:00:00 | 1978-01-14 | 1 | 1978 | 14-JAN-1978 12:00:00 (unknown accuracy) | 3468277 | WA-S-SWRISHIST | 6161086 | 698673 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1978 |  |  | 11258 | [13 empty] | 25
6161086 | 1978-02-01 12:00 | 12:00:00 | 1978-02-01 | 2 | 1978 | 01-FEB-1978 12:00:00 (unknown accuracy) | 3468282 | WA-S-SWRISHIST | 6161086 | 698674 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 4190 |  |  |  | 0.02 |  | 0.03 |  | 7.2 |  | 0.07 |  | 8.1 |  | 26
6161086 | 1978-02-02 12:00 | 12:00:00 | 1978-02-02 | 2 | 1978 | 02-FEB-1978 12:00:00 (unknown accuracy) | 3468291 | WA-S-SWRISHIST | 6161086 | 698675 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1978 |  |  | 13322 | [13 empty] | 25
6161086 | 1978-02-26 12:00 | 12:00:00 | 1978-02-26 | 2 | 1978 | 26-FEB-1978 12:00:00 (unknown accuracy) | 3468296 | WA-S-SWRISHIST | 6161086 | 698676 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1978 |  |  | 20533 | [13 empty] | 25
6161086 | 1978-03-03 12:00 | 12:00:00 | 1978-03-03 | 3 | 1978 | 03-MAR-1978 12:00:00 (unknown accuracy) | 3468301 | WA-S-SWRISHIST | 6161086 | 698677 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1978 |  |  | 28445 | [13 empty] | 25
6161086 | 1978-05-04 12:00 | 12:00:00 | 1978-05-04 | 5 | 1978 | 04-MAY-1978 12:00:00 (unknown accuracy) | 3468306 | WA-S-SWRISHIST | 6161086 | 698678 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1978 |  |  | 17117 | [13 empty] | 25
6161086 | 1978-06-03 12:00 | 12:00:00 | 1978-06-03 | 6 | 1978 | 03-JUN-1978 12:00:00 (unknown accuracy) | 3468311 | WA-S-SWRISHIST | 6161086 | 698679 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1978 |  |  | 7633 | [13 empty] | 25
6161086 | 1978-06-07 12:00 | 12:00:00 | 1978-06-07 | 6 | 1978 | 07-JUN-1978 12:00:00 (unknown accuracy) | 3468316 | WA-S-SWRISHIST | 6161086 | 698680 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 1760 |  |  |  | 0.34 |  | 0.06 |  | 7.4 |  | 0.04 |  | 7.6 |  | 11.7
6161086 | 1978-07-01 12:00 | 12:00:00 | 1978-07-01 | 7 | 1978 | 01-JUL-1978 12:00:00 (unknown accuracy) | 3468325 | WA-S-SWRISHIST | 6161086 | 698681 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1978 |  |  | 8283 | [13 empty] | 25
6161086 | 1978-08-03 12:00 | 12:00:00 | 1978-08-03 | 8 | 1978 | 03-AUG-1978 12:00:00 (unknown accuracy) | 3468330 | WA-S-SWRISHIST | 6161086 | 698682 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1978 |  |  | 5358 | [13 empty] | 25
6161086 | 1978-09-03 12:00 | 12:00:00 | 1978-09-03 | 9 | 1978 | 03-SEP-1978 12:00:00 (unknown accuracy) | 3468335 | WA-S-SWRISHIST | 6161086 | 698683 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1978 |  |  | 11969 | [13 empty] | 25
6161086 | 1978-09-06 12:00 | 12:00:00 | 1978-09-06 | 9 | 1978 | 06-SEP-1978 12:00:00 (unknown accuracy) | 3468340 | WA-S-SWRISHIST | 6161086 | 698684 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 4000 |  |  |  | 0.11 |  | 0.06 |  | 7.2 |  | 0.06 |  | 7.4 |  | 14.8
6161086 | 1978-10-01 12:00 | 12:00:00 | 1978-10-01 | 10 | 1978 | 01-OCT-1978 12:00:00 (unknown accuracy) | 3468349 | WA-S-SWRISHIST | 6161086 | 698685 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1978 |  |  | 7252 | [13 empty] | 25
6161086 | 1978-11-02 12:00 | 12:00:00 | 1978-11-02 | 11 | 1978 | 02-NOV-1978 12:00:00 (unknown accuracy) | 3468354 | WA-S-SWRISHIST | 6161086 | 698686 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1978 |  |  | 7639 | [13 empty] | 25
6161086 | 1978-12-06 12:00 | 12:00:00 | 1978-12-06 | 12 | 1978 | 06-DEC-1978 12:00:00 (unknown accuracy) | 3468359 | WA-S-SWRISHIST | 6161086 | 698687 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 2370 |  |  |  | 0.02 |  | 0.06 |  | 4.3 |  | 0.08 |  | 7.5 |  | 24.5
6161086 | 1978-12-08 12:00 | 12:00:00 | 1978-12-08 | 12 | 1978 | 08-DEC-1978 12:00:00 (unknown accuracy) | 3468368 | WA-S-SWRISHIST | 6161086 | 698688 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1978 |  |  | 7011 | [13 empty] | 25
6161086 | 1979-01-03 12:00 | 12:00:00 | 1979-01-03 | 1 | 1979 | 03-JAN-1979 12:00:00 (unknown accuracy) | 3468373 | WA-S-SWRISHIST | 6161086 | 698689 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1979 |  |  | 6922 | [13 empty] | 25
6161086 | 1979-02-06 12:00 | 12:00:00 | 1979-02-06 | 2 | 1979 | 06-FEB-1979 12:00:00 (unknown accuracy) | 3468378 | WA-S-SWRISHIST | 6161086 | 698690 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1979 |  |  | 8978 | [13 empty] | 25
6161086 | 1979-03-09 12:00 | 12:00:00 | 1979-03-09 | 3 | 1979 | 09-MAR-1979 12:00:00 (unknown accuracy) | 3468383 | WA-S-SWRISHIST | 6161086 | 698691 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1979 |  |  | 14675 | [13 empty] | 25
6161086 | 1979-03-21 12:00 | 12:00:00 | 1979-03-21 | 3 | 1979 | 21-MAR-1979 12:00:00 (unknown accuracy) | 3468388 | WA-S-SWRISHIST | 6161086 | 698692 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 5220 |  |  |  | 0.02 |  | 0.02 |  | 7.5 |  | 0.08 |  | 7.8 |  | 23.5
6161086 | 1979-05-09 12:00 | 12:00:00 | 1979-05-09 | 5 | 1979 | 09-MAY-1979 12:00:00 (unknown accuracy) | 3468397 | WA-S-SWRISHIST | 6161086 | 698693 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1979 |  |  | 17288 | [13 empty] | 25
6161086 | 1979-06-08 12:00 | 12:00:00 | 1979-06-08 | 6 | 1979 | 08-JUN-1979 12:00:00 (unknown accuracy) | 3468402 | WA-S-SWRISHIST | 6161086 | 698694 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1979 |  |  | 9314 | [13 empty] | 25
6161086 | 1979-06-20 12:00 | 12:00:00 | 1979-06-20 | 6 | 1979 | 20-JUN-1979 12:00:00 (unknown accuracy) | 3468407 | WA-S-SWRISHIST | 6161086 | 698695 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 1070 |  |  |  | 0.28 |  | 0.05 |  | 8.1 |  | 0.01 |  | 8 |  | 14.7
6161086 | 1979-07-10 12:00 | 12:00:00 | 1979-07-10 | 7 | 1979 | 10-JUL-1979 12:00:00 (unknown accuracy) | 3468416 | WA-S-SWRISHIST | 6161086 | 698696 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1979 |  |  | 4879 | [13 empty] | 25
6161086 | 1979-08-10 12:00 | 12:00:00 | 1979-08-10 | 8 | 1979 | 10-AUG-1979 12:00:00 (unknown accuracy) | 3468421 | WA-S-SWRISHIST | 6161086 | 698697 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1979 |  |  | 8258 | [13 empty] | 25
6161086 | 1979-09-19 12:00 | 12:00:00 | 1979-09-19 | 9 | 1979 | 19-SEP-1979 12:00:00 (unknown accuracy) | 3468426 | WA-S-SWRISHIST | 6161086 | 698698 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 2090 |  |  |  | 0.1 |  | 0.06 |  | 6.6 |  | 0.08 |  | 7.3 |  | 17.9
6161086 | 1979-10-02 12:00 | 12:00:00 | 1979-10-02 | 10 | 1979 | 02-OCT-1979 12:00:00 (unknown accuracy) | 3468435 | WA-S-SWRISHIST | 6161086 | 698699 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN | CONDUCTIVITIES COULD BE IN ERROR BY 10% | Unrestricted |  |  | RS06433-1979 |  |  | 10627 | [13 empty] | 25
6161086 | 1979-12-12 12:00 | 12:00:00 | 1979-12-12 | 12 | 1979 | 12-DEC-1979 12:00:00 (unknown accuracy) | 3468440 | WA-S-SWRISHIST | 6161086 | 698700 | Grab sample | Standard | (none) |  | Water sample | Container | Unknown | WIN |  | Unrestricted |  |  | No Batch 1 | 2000 |  |  |  | 0.03 |  | 0.06 |  | 6 |  | 0.09 |  | 7.6 |  | 25